Basement / Structural                               Spring    Summer    Fall    Winter

Basement for dampness and leakage                           ---------     ----------      --------    ----------

Grading to ensure that water flows

Away from walls                                                         ---------     ----------      --------    ----------

Repair cracks in walls                                                 ---------     ----------      --------    ----------

Exposed wood rot or insect damage                           ---------     ----------      --------    ----------

Plumbing / Baths

All faucets, valves, hose bibs for leakage                   ---------     ----------      --------    ----------

Toilets for proper operation                                        ---------     ----------      --------    ----------

Buildup of sludge in septic tank pump                        ---------     ----------      --------    ----------

Water heater (test pressure relief valve,

Drain tank, etc.                                                            ---------     ----------      --------    ----------

All joints in ceramic tiled surfaces, caulking

Around sinks etc.                                                        ---------     ----------      --------    ----------

Heating/Cooling

Clean/change air filters (monthly)                              ---------     ----------      --------    ----------

Clean furnace humidifier                                            ---------     ----------      --------    ----------

Clean dirt/dust from interior of the furnace:

ie. Ducts, air grills, etc.                                               ---------     ----------      --------    ----------

Turn off power to HVAC during winter months

To prevent accidental powerup                                   ---------     ----------      --------    ----------

Have entire system inspected by a qualified

HVAC inspector                                             ---------     ----------      --------    ----------

Continued…

Spring    Summer    Fall    Winter

Electrical

Main service panel for signs of

rusting/operate all breakers and fuses

to ensure none have seized                                         ---------     ----------      --------    ----------

Test off GFCI outlets                                                  ---------     ----------      --------    ----------

Test smoke & carbon monoxide                                 ---------     ----------      --------    ----------

Exposed wiring for signs of wear.

Replace if needed                                                        ---------     ----------      --------    ----------

Condition of all lamp cords, extension cords

Etc. (Replace any damaged)                                        ---------     ----------      --------    ----------

Outdoor outlets to ensure covers are on firmly           ---------     ----------      --------    ----------

Interior

Walls and ceiling cracks. The amount of movement

Should be noted for future reference                          ---------     ----------      --------    ----------

Condensation on window frames                                ---------     ----------      --------    ----------

Window hardware and lubricate moving parts           ---------     ----------      --------    ----------

Inspect window/door weather strip for damage

And tightness to fit                                                      ---------     ----------      --------    ----------

Underside of roof for damage or signs of dampness  ---------     ----------      --------    ----------

Roof & soffit vents for signs of blockage                   ---------     ----------      --------    ----------

Continued…

Spring    Summer    Fall    Winter

Exterior / Attic

All painted surfaces for signs of paint failure             ---------     ----------      --------    ----------

Siding / trim for signs of damage or decay                 ---------     ----------      --------    ----------

Inspect all mansonry for signs of loose mortar

and cracks                                                                    ---------     ----------      --------    ----------

Clean gutters & downspouts                                        ---------     ----------      --------    ----------

Inspect damage / loose shingles & flashing                      ---------     ----------      --------    ----------

Inspect all metal vents, chimneys, louvers,

etc for rust                                                                           ---------     ----------      --------    ----------

Inspect all flat roofs for blister bubbles                       ---------     ----------      --------    ----------

Grounds / Garage

All wood decks for signs of rot finish damage            ---------     ----------      --------    ----------

Inspect paved surfaces for cracks, settlement

soil erosion                                                                   ---------     ----------      --------    ----------

Inspect all retaining walls & fences for signs

of damage.  Retaining wall movement should

be noted                                                                        ---------     ----------      --------    ----------